{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["附件4"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"附件4","index":0,"n_rows":417,"n_cols":12,"rows_kept":417,"merged":[[0,0,0,11],[2,0,9,0],[2,1,9,1],[2,2,9,2],[2,3,8,3],[2,4,9,4],[10,0,17,0],[10,1,17,1],[10,2,17,2],[10,3,16,3],[10,4,17,4],[18,0,25,0],[18,1,25,1],[18,2,25,2],[18,3,24,3],[18,4,25,4],[26,0,33,0],[26,1,33,1],[26,2,33,2],[26,3,32,3],[26,4,33,4],[34,0,41,0],[34,1,41,1],[34,2,41,2],[34,3,40,3],[34,4,41,4],[42,0,49,0],[42,1,49,1],[42,2,49,2],[42,3,48,3],[42,4,49,4],[50,0,57,0],[50,1,57,1],[50,2,57,2],[50,3,56,3],[50,4,57,4],[58,0,65,0],[58,1,65,1],[58,2,65,2],[58,3,64,3],[58,4,65,4],[66,0,73,0],[66,1,73,1],[66,2,73,2],[66,3,72,3],[66,4,73,4],[74,0,81,0],[74,1,81,1],[74,2,81,2],[74,3,80,3],[74,4,81,4],[82,0,89,0],[82,1,89,1],[82,2,89,2],[82,3,88,3],[82,4,89,4],[90,0,97,0],[90,1,97,1],[90,2,97,2],[90,3,96,3],[90,4,97,4],[98,0,105,0],[98,1,105,1],[98,2,105,2],[98,3,104,3],[98,4,105,4],[106,0,113,0],[106,1,113,1],[106,2,113,2],[106,3,112,3],[106,4,113,4],[114,0,121,0],[114,1,121,1],[114,2,121,2],[114,3,120,3],[114,4,121,4],[122,0,129,0],[122,1,129,1],[122,2,129,2],[122,3,128,3],[122,4,129,4],[130,0,137,0],[130,1,137,1],[130,2,137,2],[130,3,136,3],[130,4,137,4],[138,0,145,0],[138,1,145,1],[138,2,145,2],[138,3,144,3],[138,4,145,4],[146,0,153,0],[146,1,153,1],[146,2,153,2],[146,3,152,3],[146,4,153,4],[154,0,161,0],[154,1,161,1],[154,2,161,2],[154,3,160,3],[154,4,161,4],[162,0,169,0],[162,1,169,1],[162,2,169,2],[162,3,168,3],[162,4,169,4],[170,0,177,0],[170,1,177,1],[170,2,177,2],[170,3,176,3],[170,4,177,4],[178,0,185,0],[178,1,185,1],[178,2,185,2],[178,3,184,3],[178,4,185,4],[186,0,192,0],[186,1,192,1],[186,2,192,2],[186,3,191,3],[186,4,192,4],[193,0,198,0],[193,1,198,1],[193,2,198,2],[193,3,197,3],[193,4,198,4],[199,0,204,0],[199,1,204,1],[199,2,204,2],[199,3,203,3],[199,4,204,4],[205,0,211,0],[205,1,211,1],[205,2,211,2],[205,3,210,3],[205,4,211,4],[212,0,218,0],[212,1,218,1],[212,2,218,2],[212,3,217,3],[212,4,218,4],[219,0,224,0],[219,1,224,1],[219,2,224,2],[219,3,223,3],[219,4,224,4],[225,0,231,0],[225,1,231,1],[225,2,231,2],[225,3,230,3],[225,4,231,4],[232,0,238,0],[232,1,238,1],[232,2,238,2],[232,3,237,3],[232,4,238,4],[239,0,245,0],[239,1,245,1],[239,2,245,2],[239,3,244,3],[239,4,245,4],[246,0,251,0],[246,1,251,1],[246,2,251,2],[246,3,250,3],[246,4,251,4],[252,0,257,0],[252,1,257,1],[252,2,257,2],[252,3,256,3],[252,4,257,4],[258,0,264,0],[258,1,264,1],[258,2,264,2],[258,3,263,3],[258,4,264,4],[265,0,271,0],[265,1,271,1],[265,2,271,2],[265,3,270,3],[265,4,271,4],[272,0,279,0],[272,1,279,1],[272,2,279,2],[272,3,278,3],[272,4,279,4],[280,0,287,0],[280,1,287,1],[280,2,287,2],[280,3,286,3],[280,4,287,4],[288,0,294,0],[288,1,294,1],[288,2,294,2],[288,3,293,3],[288,4,294,4],[295,0,301,0],[295,1,301,1],[295,2,301,2],[295,3,300,3],[295,4,301,4],[302,0,309,0],[302,1,309,1],[302,2,309,2],[302,3,308,3],[302,4,309,4],[310,0,316,0],[310,1,316,1],[310,2,316,2],[310,3,315,3],[310,4,316,4],[317,0,324,0],[317,1,324,1],[317,2,324,2],[317,3,323,3],[317,4,324,4],[325,0,331,0],[325,1,331,1],[325,2,331,2],[325,3,330,3],[325,4,331,4],[332,0,338,0],[332,1,338,1],[332,2,338,2],[332,3,337,3],[332,4,338,4],[339,0,346,0],[339,1,346,1],[339,2,346,2],[339,3,345,3],[339,4,346,4],[347,0,352,0],[347,1,352,1],[347,2,352,2],[347,3,351,3],[347,4,352,4],[353,0,360,0],[353,1,360,1],[353,2,360,2],[353,4,360,4],[355,3,360,3],[361,0,368,0],[361,1,368,1],[361,2,368,2],[361,3,367,3],[361,4,368,4],[369,0,376,0],[369,1,376,1],[369,2,376,2],[369,3,374,3],[369,4,376,4],[375,3,376,3],[377,0,384,0],[377,1,384,1],[377,2,384,2],[377,3,383,3],[377,4,384,4],[385,0,392,0],[385,1,392,1],[385,2,392,2],[385,3,391,3],[385,4,392,4],[393,0,400,0],[393,1,400,1],[393,2,400,2],[393,3,399,3],[393,4,400,4],[401,0,408,0],[401,1,408,1],[401,2,408,2],[401,3,406,3],[401,4,408,4],[407,3,408,3],[409,2,409,11],[410,2,410,11],[411,2,411,11],[412,2,412,11],[413,2,413,11],[414,2,414,11],[415,2,415,11],[416,2,416,11]],"flags":["formulas_cached_only"]}
["附件4: 惠州市2015年重金属国控企业污染源（废水重点）监督性监测结果（1-2月）"]
["行政区","企业名称","监测点名称","执行标准名称","监测日期","监测项目名称","污染物浓度","标准限值","单位","是否达标","超标倍数","备注"]
["博罗县","申泰电子(惠州)有限公司","处理设施总排口","电镀污染物排放标准","2015-01-09","总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县正大五金工艺制品厂有限公司","处理设施总排口","电镀污染物排放标准","2015-01-13","总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","否","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县大宇五金塑胶有限公司","处理设施总排口","电镀污染物排放标准","2015-01-13","总锌",0.009,1,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.051,0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县龙溪勤发金属表面处理厂","处理设施总排口","电镀污染物排放标准","2015-01-13","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.013,0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县龙溪万胜五金塑胶制品厂","处理设施总排口","电镀污染物排放标准","2015-01-13","总锌",0.013,1,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县龙溪镇宏辉五金塑胶制品厂","处理设施总排口","电镀污染物排放标准","2015-01-13","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.007,0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","惠州市鸿润五金家具有限公司","处理设施总排口","电镀污染物排放标准","2015-01-14","总锌",0.01,1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县九谭同富五金电镀厂","处理设施总排口","电镀污染物排放标准","2015-01-14","总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县园洲金富达五金制品加工厂","处理设施总排口","电镀污染物排放标准","2015-01-14","总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.018,0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县安科五金塑胶表面处理有限公司","处理设施总排口","电镀污染物排放标准","2015-01-14","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.009,0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县盛源金属表面处理有限公司","处理设施总排口","电镀污染物排放标准","2015-01-14","总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县力诚五金塑胶制品表面处理有限公司","处理设施总排口","电镀污染物排放标准","2015-01-14","总锌",0.039,1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.031,0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县石湾镇金城五金制品厂","处理设施总排口","电镀污染物排放标准","2015-01-20","总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗凯隆工艺饰品有限公司","处理设施总排口","电镀污染物排放标准","2015-01-09","总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县石湾镇创源五金表面处理厂","处理设施总排口","电镀污染物排放标准","2015-01-09","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.006,0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县石湾乔祥皮革加工厂","处理设施总排口","广东省地方标准《水污染物排放限值》","2015-01-20","总汞","<0.00001",0.05,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.1," mg/L","是","",""]
[{"$nulls":5},"总砷","<0.0005",0.5," mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",1," mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",1," mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5," mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",2," mg/L","是"]
[{"$nulls":3},"制革及毛皮加工工业水污染物排放标准",null,"六价铬","<0.004",0.2," mg/L","是","",""]
["博罗县","惠州杰出皮革制品有限公司","处理设施总排口","广东省地方标准《水污染物排放限值》","2015-01-09","总铅","<0.01",1," mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",1," mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5," mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",2," mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.05,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.1," mg/L","是","",""]
[{"$nulls":5},"总砷","<0.0005",0.5," mg/L","是"]
[{"$nulls":3},"制革及毛皮加工工业水污染物排放标准",null,"六价铬","<0.004",0.2," mg/L","是","",""]
["博罗县","博罗县龙溪镇宏福鞋材制造厂","处理设施排放口","广东省地方标准《水污染物排放限值》","2015-01-13","总铅","<0.01",1," mg/L","是","",""]
[{"$nulls":5},"总镍",0.017,1," mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5," mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",2," mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.05,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.1," mg/L","是","",""]
[{"$nulls":5},"总砷","<0.0005",0.5," mg/L","是","",""]
[{"$nulls":3},"制革及毛皮加工工业水污染物排放标准",null,"六价铬","<0.004",0.5," mg/L","是"]
["博罗县","博罗县龙溪志富五金电镀厂","处理设施总排口","电镀污染物排放标准","2015-01-13","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌",0.012,1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县园洲镇新和五金加工厂","处理设施排口","电镀污染物排放标准","2015-01-14","总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县杰信电镀有限公司","处理设施总排口","电镀污染物排放标准","2015-01-09","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.028,0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县石湾达生金属制品厂","处理设施总排口","电镀污染物排放标准","2015-01-09","总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.018,0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["博罗县","博罗县石湾镇鑫晖五金制品厂","处理设施总排口","电镀污染物排放标准","2015-01-09","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳新圩山河首饰电镀厂","废水排放口","电镀污染物排放标准","2015-01-15","总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.18,0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","西华休闲用品（惠州）有限公司","废水排放口","电镀污染物排放标准","2015-01-14","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.05",1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","奥士康精密电路（惠州）有限公司","废水排放口","电镀污染物排放标准","2015-01-14","总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩联丰电镀厂","废水排放口","电镀污染物排放标准","2015-01-12","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜",0.06,0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区淡水永盛电子电路板厂（永盛恒基惠州电子电路板有限公司）","废水排放口","电镀污染物排放标准","2015-01-15","总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是"]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","汇通电子科技（惠州）有限公司","废水排放口","电镀污染物排放标准","2015-01-14","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩华生五金电镀厂","废水排放口","电镀污染物排放标准","2015-01-08","总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩庆邦雨伞五金电镀厂","废水排放口","电镀污染物排放标准","2015-01-12","总锌","<0.05",1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠州市惠阳区爱特电子有限公司","废水排放口","电镀污染物排放标准","2015-01-08","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是"]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩城辉电子厂（城辉兴电子惠州有限公司）","废水排放口","电镀污染物排放标准","2015-01-19","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铜",0.06,0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩采色五金厂","废水排放口","电镀污染物排放标准","2015-01-15","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.05",1,"mg/L","是"]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠州市新圩兴记电镀厂有限公司（惠阳区新圩兴记电镀厂）","废水排放口","电镀污染物排放标准","2015-01-14","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是"]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是"]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩金达昌五金电镀厂（惠州市惠阳区新圩长和五金电子厂）","废水排放口","电镀污染物排放标准","2015-01-13","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠州市惠阳区新圩南坑健鸿电镀厂（惠州健鸿电镀有限公司）","废水排放口","电镀污染物排放标准","2015-01-13","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.05",1,"mg/L","是"]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠州市惠阳区坑塘电镀厂","废水排放口","电镀污染物排放标准","2015-01-20","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.07,0.5,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.05",1,"mg/L","是"]
[{"$nulls":5},"总铜",0.07,0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩南坑昌华电镀厂","废水排放口","电镀污染物排放标准","2015-01-12","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳新圩渊泉五金电镀厂（弘泰惠州金属表面处理有限公司）","废水排放口","电镀污染物排放标准","2015-01-13","六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩鑫隆五金制品加工","废水排放口","电镀污染物排放标准","2015-01-20","六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.07,0.5,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.05",1,"mg/L","是"]
[{"$nulls":5},"总铜",0.07,0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩翔达五金电镀厂","废水排放口","电镀污染物排放标准","2015-01-15","总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩源辉五金电镀厂","废水排放口","电镀污染物排放标准","2015-01-20","总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.07,0.5,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.05",1,"mg/L","是"]
[{"$nulls":5},"总铜",0.07,0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","胜宏科技（惠州）有限公司","废水排放口","电镀污染物排放标准","2015-01-19","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是"]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","久田伞业（惠阳）有限公司","废水排放口","电镀污染物排放标准","2015-01-12","总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.05",1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠州市弘国五金制品有限公司","废水排放口","电镀污染物排放标准","2015-01-13","总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总锌",0.07,1," mg/L","是"]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"六价铬",0.017,0.1,"mg/L","是","",""]
[{"$nulls":5},"总镍","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠阳区新圩长布电镀厂(惠州合利真空喷膜有限公司)","废水排放口","电镀污染物排放标准","2015-01-14","总汞","<0.00001",0.005,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是","",""]
[{"$nulls":5},"六价铬","<0.004",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是","",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
["惠阳区","惠州金茂投资实业有限公司（博罗县龙溪电镀基地）","处理设施总排口","地表水环境质量标准","2015-01-13","六价铬",0.057,0.05,"mg/L","否","0.14倍",""]
[{"$nulls":3},"广东省地方标准《水污染物排放限值》",null,"总砷","<0.0005",0.5," mg/L","是","",""]
[{"$nulls":3},"电镀污染物排放标准",null,"总汞","<0.00001",0.005,"mg/L","是"]
[{"$nulls":5},"总镉","<0.001",0.01,"mg/L","是"]
[{"$nulls":5},"总铅","<0.01",0.1,"mg/L","是"]
[{"$nulls":5},"总锌","<0.004",1," mg/L","是","",""]
[{"$nulls":5},"总镍",{"v":0.16,"d":"0.160"},0.5,"mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5,"mg/L","是","",""]
["惠城区","兴昂制革（惠州）有限公司","处理设施出口","广东省地方标准《水污染物排放限值》","2015-02-09","总汞","<0.00004",0.05,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.05",2," mg/L","是"]
[{"$nulls":5},"总镉","<0.003",0.1,"mg/L","是","",""]
[{"$nulls":5},"总铅","<0.03",1,"mg/L","是","",""]
[{"$nulls":5},"总镍",0.06,1,"mg/L","是"]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是"]
[{"$nulls":5},"总砷","<0.0004",0.5," mg/L","是"]
[{"$nulls":3},"制革及毛皮加工工业水污染物排放标准",null,"六价铬",0.006,0.2,"mg/L","是","",""]
["惠城区","志源塑胶制品（惠州）有限公司","废水处理后排口","广东省地方标准《水污染物排放限值》","2015-02-09","总汞","<0.00004",0.05,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.05",2," mg/L","是"]
[{"$nulls":5},"总镍","<0.01",1,"mg/L","是"]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是"]
[{"$nulls":5},"总砷","<0.0004",0.5," mg/L","是"]
[{"$nulls":5},"六价铬","<0.004",0.5,"mg/L","是"]
[{"$nulls":3},"电池工业污染物排放标准",null,"总镉","<0.003",0.05,"mg/L","是"]
[{"$nulls":5},"总铅","<0.03",0.7,"mg/L","是","",""]
["博罗县","博罗龙华宾华皮革有限公司","处理设施总排口","广东省地方标准《水污染物排放限值》","2015-01-21","总铅","<0.01",1," mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",1," mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5," mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",2," mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.05,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.1," mg/L","是","",""]
[{"$nulls":5},"总砷","<0.0005",0.5," mg/L","是"]
[{"$nulls":3},"制革及毛皮加工工业水污染物排放标准",null,"六价铬","<0.004",0.2," mg/L","是","",""]
["博罗县","博罗伟业皮革制品有限公司","处理设施总排口","广东省地方标准《水污染物排放限值》","2015-01-21","总铅","<0.01",1," mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",1," mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5," mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",2," mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.05,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.1," mg/L","是","",""]
[{"$nulls":5},"总砷","<0.0005",0.5," mg/L","是"]
[{"$nulls":3},"制革及毛皮加工工业水污染物排放标准",null,"六价铬","<0.004",0.5," mg/L","是","",""]
["博罗县","博罗新洲皮业有限公司","处理设施总排口","广东省地方标准《水污染物排放限值》","2015-01-21","总铅","<0.01",1," mg/L","是","",""]
[{"$nulls":5},"总镍","<0.004",1," mg/L","是","",""]
[{"$nulls":5},"总铜","<0.004",0.5," mg/L","是","",""]
[{"$nulls":5},"总锌","<0.004",2," mg/L","是","",""]
[{"$nulls":5},"总汞","<0.00001",0.05,"mg/L","是","",""]
[{"$nulls":5},"总镉","<0.001",0.1," mg/L","是","",""]
[{"$nulls":5},"总砷","<0.0005",0.5," mg/L","是","",""]
[{"$nulls":3},"制革及毛皮加工工业水污染物排放标准",null,"六价铬","<0.004",0.5," mg/L","是"]
["惠城区","惠州市新科华实业有限公司","废水处理后排口","广东省地方标准《水污染物排放限值》","2015-02-09","总汞","<0.00004",0.05,"mg/L","是","",""]
[{"$nulls":5},"总锌","<0.05",2," mg/L","是"]
[{"$nulls":5},"总镍","<0.01",1,"mg/L","是"]
[{"$nulls":5},"总铜","<0.05",0.5,"mg/L","是"]
[{"$nulls":5},"总砷","<0.0004",0.5," mg/L","是"]
[{"$nulls":5},"六价铬","<0.004",0.5,"mg/L","是"]
[{"$nulls":3},"电池工业污染物排放标准",null,"总镉","<0.003",0.05,"mg/L","是"]
[{"$nulls":5},"总铅","<0.03",0.7,"mg/L","是","",""]
["博罗县","博罗县园洲大利皮草制品厂(惠州浩腾皮草有限公司）","本季度停产"]
["惠阳区","惠州市惠阳区环保综合服务公司（废液）","本季度暂停生产"]
["惠阳区","惠阳伊华时尚首饰有限公司","本季度订单量严重不足，生产量不足，几乎处于停产状态，无法采集到水样。"]
["惠阳区","德万工业惠阳电池有限公司","已停产"]
["仲恺区","广东科士达工业科技有限公司","春节停产"]
["大亚湾区","海志电池（惠州）有限公司","春节停产"]
["惠城区","惠州联合皮革制品有限公司","春节停产"]
["惠东县","惠州市一电电池技术有限公司","春节停产"]